**Module 4, Week 1 Exercise 5 Worksheet**

Refer to AS/NZS 3000:2018 Section 3.8 to answer the following:

1. Complete the conductor colours for Installation Wiring:

|  |  |
| --- | --- |
| Function | Insulation Colour |
| Protective Earth |  |
| Equipotential Bonding |  |
| Neutral |  |
| Active |  |

|  |
| --- |
| 1. When green/yellow is used, what is the maximum and minimum percentage of the surface area one colour may cover?
 |

|  |
| --- |
| 1. What is the only permitted colour for neutral conductors in New Zealand domestic installations?
 |

While some of the colour codes for power wires and cables are mandatory, others are optional. Refer to Figure 3.2 (multiphase cables) to answer the following:

|  |
| --- |
| 1. What are the recommended colours for L1, L2 and L3 in a three-phase supply?
 |

|  |
| --- |
| 1. Which colours are not permitted for L1, L2 and L3?
 |

|  |
| --- |
| 1. In what circumstances does an earthing conductor **not** have to be coloured green/yellow?
 |

|  |
| --- |
| 1. What colours may be used for sheathing in New Zealand?
 |