**Week 4 Exercise 29 SDL Worksheet**

Exercise 29

1. Draw connecting lines to match the correct cable support system with its description.

|  |  |  |
| --- | --- | --- |
| **Support System** |  | **Description** |
| Conduit |  | Open structure made of metal or plastic used to support cables. |
| Cable Tray |  | Metal channels with rungs used to support heavy cables. |
| Cable Ladder |  | Rigid metal or plastic pipe used to protect and route electrical wiring.  |

|  |
| --- |
| 1. A cable support system will be used to support 10 cables, each weighing 0.5 kg/m, and measuring 20 metres in length. What is the minimum load capacity required for the cable support system?
 |

|  |
| --- |
| 1. Why is it important to consider the material of the cable support system when selecting a support system?
 |

**Self-directed Learning**

|  |
| --- |
| Find out what is meant by a fire-rated penetration seal. |

Some of the common materials used for fire-rated penetration seals are shown below. Briefly describe how each material works and how it helps to prevent the spread of fire and smoke.

|  |  |
| --- | --- |
| **Material** | **Description** |
| Intumescent sealant |  |
| Firestop mortar |  |
| Firestop pillows |  |
| Firestop collars |  |

Top of Form

Bottom of Form