**Week 5 Lesson 18 SDL Worksheet**

Locate the answers to these questions by referring to the appropriate standard and share your answers on the group forum.

|  |
| --- |
| 1. What is the minimum height for a power point above a floor in NZ? (Section 2.6.3.1 (ECP) for Electrical Safe Distances.)
 |

|  |
| --- |
| 1. What is the minimum depth for an electrical junction box in NZ? (Section 3.2.3.2 AS/NZS 3000:2018.)
 |

|  |
| --- |
| 1. What is the maximum length of an unbroken run of flexible cord for a portable appliance in New Zealand? (Section 3.6.2.2 AS/NZS 3000:2018.)
 |

|  |
| --- |
| 1. Can you install a power point in a bathroom in NZ? If you have answered yes, are there any special requirements? (Section 7.3.3.3 AS/NZS 3000:2018.)
 |

|  |
| --- |
| 1. Can you install a light switch in a shower cubicle in NZ? If you have answered yes, are there any special requirements? (Section 7.3.3.4 AS/NZS 3000:2018.)
 |

|  |
| --- |
| 1. Can you use a flexible cord as a substitute for fixed wiring in NZ? If you have answered yes, are there any special requirements? (Section 3.3.3.2 AS/NZS 3000:2018.)
 |